BAY COUNTY LIBRARY SYSTEM

FALSE FIRE ALARM PROCEDURE                                                AUBURN AREA BRANCH LIBRARY

When you are certain it is a false fire alarm

- Call 911 and report a false alarm

- Call - Solucient Alarm 989-686-3194 and report a false alarm			Branch System Number is: 6336   Branch Code: 7580

- Silence alarm by pressing the “Alarm Silence” button on the Fire Alarm Control Panel by staff coat rack

- Notify patrons that it is a false alarm

- Get alarm box key from either Children's, Circ, or PSD desk along with the replacement tubes

- Reset the pulled alarm – push the handle back into place and replace the tube

- Reset the system by pressing “System Reset” on the Fire Alarm Control Panel by staff coat rack

- Clear the Solucient alarm (by the back door) by putting in the branch code twice: 75801

- Call Scott (989-225-4255) to report a false alarm